{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Hałas","Arkusz2","Arkusz3"],"read":"whole","date_system":"1900"}

{"sheet":"Hałas","index":0,"n_rows":371,"n_cols":10,"rows_kept":371,"merged":[[1,1,1,7]]}
[]
[null,"załącznik nr 2 do  siwz "]
["Lp.","Nazwa artykułu","Jm","Ilość","Cena jed. Netto","Wartość netto","Cena jed. Brutto","Wartość brutto ","Oferowany artykuł/ dostęp do strony internetowej","czy dana substanacja musi posiadać kartę charakterystyki zgodnie z Rozporzadzeniem EU 2015/830 TAK/NIE"]
[1,"Automat spłukujący","szt",3]
[2,"Czyszczak PCV 110","Szt",10]
[3,"Dolnopłuk","szt",5]
[4,"Dwumufa 110","szt",5]
[5,"Filtr ½","Szt",3]
[6,"Głowica do bateri kul.C35","Szt",15]
[7,"Głowica do bateri kulowej typu Apollo C40","szt",10]
[8,"Głowica do baterii ","szt",35]
[9,"Głowica do zaworu 1","szt",3]
[10,"Głowica do zaworu 1/2","szt",10]
[11,"Głowica do zaworu 3/4","szt",10]
[12,"Głowica termostatyczna","szt",15]
[13,"Grzejnik Radson 2x105, aluminiowy, higieniczny","szt",3]
[14,"Grzejnik aluminiowy członowy - żeberko","szt",30]
[15,"Grzejnik Radson 2x120 aluminiowy, higieniczny","szt",3]
[16,"Grzejnik Radson 2x60","szt",3]
[17,"Grzejnik Radson 2x90","szt",4]
[18,"Grzejnik higieniczny dł.110, płytowy","Szt",5]
[19,"Gwint 3\"","szt",10]
[20,"Gwint 2\"","szt",10]
[21,"Gwint 1\"","szt",10]
[22,"Gwint 5/4\"","szt",10]
[23,"Izolacja rur piankowa   f20","mb",20]
[24,"Izolacja rur piankowa   f25","mb",30]
[25,"Izolacja rur piankowa fi 28","mb",80]
[26,"Izolacja rury fi 22","Mb",80]
[27,"Izolacja rury fi 50","Mb",20]
[28,"Izolacja rury fi 80","Mb",20]
[29,"Izolacja rury fi 100","Mb",20]
[30,"Jednoprzycikowy zawór spłukujący z funkcją stop A 2000","Szt",10]
[31,"Kolano 1 ocynk ","szt",15]
[32,"Kolano 1/2 ocynk","szt",20]
[33,"Kolano 1/2 ocynk WZ","szt",20]
[34,"Kolano 3/4 ocynk","szt",15]
[35,"Kolano 3/4 ocynk WZ","szt",15]
[36,"Kolano 5/4 ocynk","szt",5]
[37,"Kolano dwukielichowe miedź 15","szt",40]
[38,"Kolano dwukielichowe miedź 18","szt",40]
[39,"Kolano dwukielichowe miedź 22","szt",30]
[40,"Kolano dwukielichowe miedź 28","szt",30]
[41,"Kolano dwukielichowe miedź 10","szt",40]
[42,"Kolano dwukielichowe miedź 12","szt",40]
[43,"Kolano hamburskie 1","Szt",10]
[44,"Kolano hamburskie 2","szt",10]
[45,"Kolano hamburskie 2 1/2","szt",10]
[46,"Kolano hamburskie 3","szt",10]
[47,"Kolano hamburskie 4","szt",6]
[48,"Kolano hamburskie 5/4","szt",6]
[49,"Kolano jednokielichowe miedź 10","szt",40]
[50,"Kolano jednokielichowe miedź 15","szt",40]
[51,"Kolano jednokielichowe miedź 18","szt",40]
[52,"Kolano jednokielichowe miedź 22","szt",15]
[53,"Kolano jednokielichowe miedź 28","szt",10]
[54,"Kolano PCV 110 <30","szt",15]
[55,"Kolano PCV 110 <15","szt",15]
[56,"Kolano PCV 110 <45","szt",25]
[57,"Kolano PCV 110 <67","szt",30]
[58,"Kolano PCV 110<22","Szt",10]
[59,"Kolano PCV 110 <90","szt",15]
[60,"Kolano PCV 160","szt",15]
[61,"Kolano PCV 200 ","szt",5]
[62,"Kolano PCV 32 <30","szt",25]
[63,"Kolano PCV 32 <15","szt",10]
[64,"Kolano PCV 32 <45","szt",10]
[65,"Kolano PCV 32 <67","szt",10]
[66,"Kolano PCV 32 <90","szt",50]
[67,"Kolano PCV 50<22","Szt",10]
[68,"Kolano PCV 50<15","Szt",35]
[69,"Kolano PCV 50 <30","szt",60]
[70,"Kolano PCV 50 <45","szt",80]
[71,"Kolano PCV 50 <67","szt",80]
[72,"Kolano PCV 50 <90","szt",60]
[73,"Kolano PCV 75 <30","szt",10]
[74,"Kolano PCV 75 <15","szt",10]
[75,"Kolano PCV 75 <45","szt",10]
[76,"Kolano PCV 75 <67","szt",10]
[77,"Kolano PCV 75 <90","szt",10]
[78,"Kolano PP 20","szt",400]
[79,"Kolano PP 20 WZ","szt",200]
[80,"Kolano PP 20x1/2 gw.wew. z łapkami ","szt",60]
[81,"Kolano PP 20 x 1/2 gw. wew.","szt",25]
[82,"Kolano PP 20 x 1/2 gw. zew.","szt",25]
[83,"Kolano PP 25","szt",140]
[84,"Kolano PP 25 WZ","szt",80]
[85,"Kolano PP 25 x 3/4 gw. wew","szt",15]
[86,"Kolano PP 25 x 3/4 gw. zew","szt",15]
[87,"Kolano PP 32","szt",15]
[88,"Kolano PP 32 WZ","szt",15]
[89,"Kolano PP 32 x 1 gw. wew.","szt",4]
[90,"Kolano PP 32 x 1 gw. zew.","szt",4]
[91,"Komplet mocujący  Ø 10 do WC","szt",60]
[92,"Komplet mocujący Ø 14 do umywalki dł 120","szt",60]
[93,"komplet naprawczy kompaktu ","szt",10]
[94,"Korek 1/2 plastikowy","szt",50]
[95,"Korek 1/2 stalowy","szt",60]
[96,"Korek PCV 100","Szt",15]
[97,"Korek PCV 50","szt",15]
[98,"Korek stal 1","szt",10]
[99,"Korek stal 3/4","szt",10]
[100,"Kratka ściekowa 50 z koszem","Szt",10]
[101,"Kratka ściekowa 50","szt",10]
[102,"Manszet gumowy biały 50/32 -górnopłuka- lejek","szt",25]
[103,"Mijanka PP 20","szt",20]
[104,"Mijanka PP 25","szt",10]
[105,"Mufa 5/4","Szt",7]
[106,"Mufa miedź 10","szt",30]
[107,"Mufa miedź 12","szt",30]
[108,"Mufa ocynk 1","szt",10]
[109,"Mufa ocynk 1/2","szt",30]
[110,"Mufa ocynk 3/4","szt",20]
[111,"Mufa PCV 75","Szt",5]
[112,"Mufa PP 20","szt",70]
[113,"Mufa PP 25","szt",20]
[114,"Mufka miedź 15","szt",30]
[115,"Mufa miedź 15/1/2 gw.wew.","szt",15]
[116,"Mufka miedź 18","szt",20]
[117,"Mufa miedź 18/1/2 gw.wew.","szt",15]
[118,"Mufka miedź 22","szt",20]
[119,"Mufka miedź 28","szt",20]
[120,"Mufa stal 6/4","Szt",5]
[121,"Mufa stalowa spawalnicza 1","szt",15]
[122,"Napowietrzacz 50","szt",5]
[123,"Napowietrzacz 110","szt",5]
[124,"Nasuwka 200,110,75,50","szt",20]
[125,"Nypel 1","szt",20]
[126,"Nypel 1/2","szt",60]
[127,"Nypel 2","szt",10]
[128,"Nypel 3/4","szt",30]
[129,"Nypel 5/4","szt",5]
[130,"Nypel 6/4","szt",2]
[131,"Nypel miedź 15/1/2","szt",10]
[132,"Nypel miedź 18/1/2 ","szt",10]
[133,"Nypel miedź 22/1/2","szt",10]
[134,"Obejście miedź 15","szt",25]
[135,"Obejście miedź 18","szt",25]
[136,"Obejście miedź 22","szt",15]
[137,"Obejście miedź 28","szt",10]
[138,"Obejma 1/2\" ","szt",10]
[139,"Odpowietrznik automatyczny  ½","szt",15]
[140,"Opaska na rury fi 25","szt",5]
[141,"Opaska na rury fi 50","szt",5]
[142,"Opaska na rury fi 63","szt",3]
[143,"Opaska na rury fi 80","szt",1]
[144,"Opór wylewki plastikowy","szt",20]
[145,"Pasta do lutowania twardego","szt",5]
[146,"Pasta uszczelniająca","Szt",10]
[147,"Pasta do lutowania miękkiego","szt",10]
[148,"Płytka PP montażowa przelotowa","szt",10]
[149,"Płytka PP montażowa uniwersalna","szt",15]
[150,"Pokrętło do baterii ciepła wody","szt",15]
[151,"Pokrętło do baterii zimna woda","szt",15]
[152,"Pompa cyrkulacyjna do ciepłej wody","szt",2]
[153,"Przedłużka 1/2 mosiądz 1,5cm","szt",40]
[154,"Przedłużka do baterii 3/4 \"","szt",6]
[155,"Przedłużka 1/2 mosiądz 1cm","szt",60]
[156,"Przedłużka 1/2 mosiądz 2cm","szt",30]
[157,"Przedłużka 3/8 mosiądz1,5 cm","Szt",10]
[158,"Przedłużka 3/4 mosiądz 1cm","szt",10]
[159,"Przedłużka do wylewki-perlator, krótka","szt",50]
[160,"Przedłużka do wylewki-perlator, długa","szt",20]
[161,"Przejście miedź 15x1/2 gwint wewn.","szt",20]
[162,"Przejście miedź 15x1/2gwin.zewn.","szt",20]
[163,"Przejście miedź 18x3/4 gwin.wew.","szt",15]
[164,"Przejście miedź 18x3/4 gwint zewn.","szt",15]
[165,"Przejście miedź 22x 1 gwint wewn.","szt",15]
[166,"Przejście miedź 22x1” gwin.zewn.","szt",10]
[167,"Przejście miedź 28x5/4","szt",10]
[168,"Przejście miedż 28x5/4 gwint wewn.","szt",10]
[169,"Przejście proste PP 20 x 1/2 gw. wew.","szt",25]
[170,"Przejście proste PP 20 x 1/2 gw. zew. ","szt",35]
[171,"Przejście proste PP 25 x 3/4 gw. wew.","szt",15]
[172,"Przejście proste PP 25 x 3/4 gw. zew.","szt",10]
[173,"Redukcja 1 x 3/4","szt",10]
[174,"Redukcja 1/2 x 3/8","szt",30]
[175,"Redukcja 2x1","Szt",5]
[176,"Redukcja 3/4 x 1/2","szt",20]
[177,"Redukcja 5/4x3/4","Szt",5]
[178,"Redukcja 6/4x5/4","Szt",5]
[179,"Redukcja miedź 12/10","szt",10]
[180,"Redukcja miedź 15/12","szt",10]
[181,"Redukcja miedź 18/15","szt",10]
[182,"Redukcja miedź 22/18","szt",10]
[183,"Redukcja miedź 28/22","szt",10]
[184,"Redukcja miedż 22/15","szt",10]
[185,"Redukcja PCV 100/50","szt",10]
[186,"Redukcja PCV 50/32 kątowa","szt",30]
[187,"Redukcja PCV 50/32 prosta","szt",30]
[188,"Redukcja PP 25/20","szt",20]
[189,"Redukcja gumowa 50/32","szt",10]
[190,"Rozetka 3/4","szt",10]
[191,"Rozetka 110","szt",5]
[192,"Rura czarna 1","mb",10]
[193,"Rura czarna 1/2","mb",10]
[194,"Rura czarna 2","mb",10]
[195,"Rura czarna 2 ½","Mb",10]
[196,"Rura czarna 3","Mb",10]
[197,"Rura czarna 3/4","mb",10]
[198,"Rura czarna 3/8","Mb",10]
[199,"Rura czarna 5/4","mb",10]
[200,"Rura karbowana elastyczna do WC - odpływ fi 110mm","szt",35]
[201,"Rura miedź 10","mb",30]
[202,"Rura miedź 15","mb",40]
[203,"Rura miedź 18","mb",25]
[204,"Rura miedź 22","mb",15]
[205,"Rura miedź 28","mb",10]
[206,"Rura miedź 12","mb",40]
[207,"Rura ocynk 1","mb",10]
[208,"Rura ocynk 1/2","mb",10]
[209,"Rura ocynk 3/4","mb",10]
[210,"Rura ocynk 5/4","mb",5]
[211,"Rura ocynk 6/4","Mb",5]
[212,"Rura PCV 110  dł. 0,3m","szt",10]
[213,"Rura PCV 110  dł. 0,5m","szt",35]
[214,"Rura PCV 110  dł. 1m","szt",35]
[215,"Rura PCV 110  dł. 2m","szt",15]
[216,"Rura PCV 160 dł. 2m","szt",10]
[217,"Rura PCV 160 dł 3 m ","szt",10]
[218,"Rura PCV 32  dł. 0,3m","szt",20]
[219,"Rura PCV 32  dł. 0,5m","szt",15]
[220,"Rura PCV 32  dł. 1m","szt",10]
[221,"Rura PCV 50  dł. 0,3m","szt",15]
[222,"Rura PCV 50  dł. 0,5m","szt",70]
[223,"Rura PCV 50  dł. 1m","szt",50]
[224,"Rura PCV 50 dł. 2M","szt",15]
[225,"Rura PCV 75x0,5","Szt",10]
[226,"Rura PCV 75x1m","Szt",20]
[227,"Rura PP 20","szt",230]
[228,"Rura PP 32","Mb",35]
[229,"Rura PP 25","mb",100]
[230,"Rura PP 50","mb",10]
[231,"Rura PP 63","mb",10]
[232,"Rura spłukująca do automatu","szt",5]
[233,"Ściereczka czyszcząca","szt",4]
[234,"Spoiwo do lutowania twardego","szt",10]
[235,"Spoiwo do lutu miedź.-srebro","szt",20]
[236,"Spoiwo miękkie","szt",10]
[237,"Śrubunek 5/4","Szt",5]
[238,"Syfon bidetu","Szt",5]
[239,"Syfon brodzika","szt",10]
[240,"Syfon pisuarowy","Szt",5]
[241,"Syfon pralkowy","szt",5]
[242,"Syfon umywalki chromowany","szt",10]
[243,"Syfon umywalki pcv","szt",80]
[244,"Syfon wannowy","szt",4]
[245,"Syfon zlewozmywaka podwójny","szt",15]
[246,"Syfon zlewozmywaka pojedynczy","szt",15]
[247,"Środek poślizgowy","Szt",15]
[248,"Szczeliwo lniane","szt",15]
[249,"Śrubunek 1","Szt",10]
[250,"Śrubunek 1/2","szt",10]
[251,"Śrubunek 3/4","szt",15]
[252,"Śrubunek ¾ kątowy","Szt",5]
[253,"Śrubunek 6/4","Szt",5]
[254,"Śrubunek 2","szt",5]
[255,"Śruby do mocowania deski sedesowej plastik.","szt",10]
[256,"Taśma teflonowa","szt",100]
[257,"Traper 110","szt",15]
[258,"Traper 50","szt",15]
[259,"Traper PCV 75","Szt",5]
[260,"Trójnik 1 ocynk","szt",5]
[261,"Trójnik 1/2 ocynk","szt",15]
[262,"Trójnik 3/4 ocynk","szt",15]
[263,"Trójnik 5/4","Szt",5]
[264,"Trójnik 6/4","Szt",5]
[265,"Trójnik miedź 15","szt",15]
[266,"Trójnik miedź 18","szt",10]
[267,"Trójnik miedź 18/15","Szt",10]
[268,"Trójnik miedź 22","Szt",10]
[269,"Trójnik miedź 22/18","Szt",10]
[270,"Trójnik miedź 28","Szt",10]
[271,"Trójnik miedź 28/22","szt",10]
[272,"Trójnik miedż 10","szt",10]
[273,"Trójnik miedż 12","szt",10]
[274,"Trójnik miedż 22/15","szt",20]
[275,"Trójnik PCV 110 <45","szt",20]
[276,"Trójnik PCV 110 <67","szt",20]
[277,"Trójnik PCV 110 <90","szt",10]
[278,"Trójnik PCV 110/50 <45","szt",15]
[279,"Trójnik PCV 110/50 <67","szt",15]
[280,"Trójnik PCV 160","szt",5]
[281,"Trójnik PCV 50 <30","szt",10]
[282,"Trójnik PCV 50 <45","szt",20]
[283,"Trójnik PCV 50 <67","szt",20]
[284,"Trójnik PCV 50 <90","szt",10]
[285,"Trójnik PCV 75","Szt",10]
[286,"Trójnik PP 20","szt",80]
[287,"Trójnik PP 20 x 1/2","szt",15]
[288,"Trójnik PP 25","szt",35]
[289,"Trójnik PP 25 x 3/4","szt",10]
[290,"Trójnik PP 25/20","Szt",30]
[291,"Uchwyt do rur miedź 15 podłójny","szt",10]
[292,"Uchwyt do rur miedź 15 pojed.","szt",10]
[293,"Uchwyt do rur miedź 18 podwójny","szt",10]
[294,"Uchwyt do rur miedź 18 pojed.","szt",10]
[295,"Uchwyt do rur miedź 22 podwójny","szt",10]
[296,"Uchwyt do rur miedź 22 pojed.","szt",20]
[297,"Uchwyt do rur miedź 28 podwójny","szt",10]
[298,"Uchwyt do rur miedź 28 pojed.","szt",10]
[299,"Uchwyt do rury 1","szt",15]
[300,"Uchwyt do rury 1/2\"","szt",15]
[301,"Uchwyt do rury 100","szt",15]
[302,"Uchwyt do rury 3/4","szt",25]
[303,"Uchwyt do rury 50","szt",20]
[304,"Uchwyt dp rury 6/4 ","szt",10]
[305,"Uchwyt PP 20","szt",20]
[306,"Uchwyt PP 25","szt",15]
[307,"Ucinaczki do rur dł 35 mm","szt",2]
[308,"Uszczelka gumowa wylewki","szt",150]
[309,"Uszczelki do głowicy","szt",50]
[310,"Uszczelki klingieryt 50","szt",20]
[311,"Uszczelka gumowa do kompaktu Eko","Szt",20]
[312,"Uszczelki pod baterie klinkierytowe","szt",180]
[313,"Uszczelki 1\"","szt",20]
[314,"Uszczelka 5/4\" ","szt",20]
[315,"Uszczelka 6/4\"","szt",20]
[316,"Wąż w oplocie 1/2 30cm","szt",20]
[317,"Wąż w oplocie 1/2 40cm","szt",25]
[318,"Wąż w oplocie 1/2 50 cm ","szt",10]
[319,"Wąż w oplocie 3/8 dł.40 cm","Szt",20]
[320,"Wodomierz ciepła woda 1/2 - 50","szt",3]
[321,"Wodomierz zimna woda 1/2 100","szt",3]
[322,"Wylewka do bateri kurkowej górna","Szt",10]
[323,"Wylewka do bateri kulowej dolna","Szt",15]
[324,"Wylewka do baterii kurkowej dolna","szt",10]
[325,"Wylewka do baterii 3/4 dł 15, 20,10,","szt",15]
[326,"Zaciski na węże 1","szt",15]
[327,"Zaciski na węże 1/2","szt",15]
[328,"Zaciski na węże 3/4","Szt",15]
[329,"Zaciski na węże 1","Szt",15]
[330,"Zaciski na węże 11/2","Szt",15]
[331,"Zaciski na węże 2","Szt",15]
[332,"Zaślepka PP 25","szt",25]
[333,"Zaślepka PP 20","Szt",25]
[334,"Zawór dwuprzyciskow spłukujący A04","Szt",10]
[335,"Zawór grzejnika odcinający 1/2 kątowy","szt",10]
[336,"Zawór grzejnika odcinający 1/2 prosty","szt",20]
[337,"Zawór grzejnika odcinający 3/8 kątowy","szt",10]
[338,"Zawór grzejnika odcinający 3/8 prosty","szt",10]
[339,"Zawór grzejnika termostat. 1/2 kątowy RTD-N","szt",10]
[340,"Zawór grzejnika termostat. 1/2 prosty RTD-N","szt",10]
[341,"Zawór grzejnika termostat. 3/8 kątowy RTD-N","szt",10]
[342,"Zawór grzejnika termostat.3/4 prosty RTD-N","Szt",10]
[343,"Zawór grzejnika odcinający ¾ prosty","Szt",10]
[344,"Zawór grzejnika termostat. 3/8 prosty RTD-N","szt",10]
[345,"Zawór kątowy 3/8","Szt",5]
[346,"Zawór kątowy 1/2x3/8 ","Szt",15]
[347,"Zawór kątowy 1/2x1/2","Szt",35]
[348,"Zawór kulowy 1","szt",7]
[349,"Zawór kulowy 1/2","szt",30]
[350,"Zawór kątowy 1/2x3/4","szt",5]
[351,"Zawór kulowy ½ z półśrubunkiem","Szt",10]
[352,"Zawór kulowy 2","Szt",3]
[353,"Zawór kulowy 3/4","szt",25]
[354,"Zawór kulowy ¾ z półśrubunkiem","Szt",5]
[355,"Zawór kulowy 5/4","Szt",5]
[356,"Zawór kulowy 6/4","Szt",5]
[357,"Zawór kulowy czerpalny ½","Szt",10]
[358,"Zawór kulowy czerpalny ¾","Szt",5]
[359,"Zawór napełniający ZN 1/2","szt",40]
[360,"Zawór zwrotny ½","Szt",2]
[361,"Zawór zwrotny ¾","Szt",2]
[362,"Złącze Gebo fi 25mm","szt",10]
[363,"Złącze Gebo fi 32mm","szt",10]
[]
[]
[null,"Wartość netto: "]
[null,"Wartość brutto: "]
[null,"Warunki płatności: "]

{"sheet":"Arkusz2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Arkusz3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}