## Arkusz1
Załącznik A do SWZ nr 80.272.420.2023
Lp. | Nazwa towaru | jednostka miary lub rodzaj opakowania | Ilość | cena netto (jednostkowa) | wartość netto | Vat | wartość brutto
Odczynniki chemiczne i biologiczne
1 | IB01100 - PONCEAU S 50GM Em (520nm, water) > 27000 Loss on drying (%)< 6% DNase assay None Detected RNase assay None Detected Protease assay None Detected | op. | 10
2 | IB01131 - HEPES, FREE ACID-250GM ph (0.5M Solution in H2O) 5.1 - 6.5 Purity Min. 99.0 Water Max. 0.25% Heavy Metals Max. 0.001% Iron Max. 0.0005% Sulfates Max. 0.05% DNase assay None Detected RNase assay None Detected Protease assay None Detected | op. | 10
3 | IB01132 - HEPES, FREE ACID-500GM | op. | 5
4 | IB01133 - HEPES, FREE ACID-1KG | op. | 5
5 | IB02010 - CARBENICILLIN-1GM Assay > 88.0% Potency (USP) > 770 mg/mg Chromatographic Purity (HPLC) > 92.0% Solubility (50 mg/mL) Clear, colourless to faint yellow pH (10 mg/mL) 6.0 - 8.0 Moisture (KF) < 6.0% 2.9% PASS Benzyl penicillin sodium < 5.0% Iodine Absorbing Substances < 8.0% Endotoxin < 0.05 EU/mg BSE/TSE Free | op. | 5
6 | IB02020 - CARBENICILLIN-5GM | op. | 5
7 | IB02025 - CARBENICILLIN-25GM | op. | 5
8 | IB02040 - AMPICILLIN 25GM Assay (anhydrous) 845 - 988 µg/mg Water Max. 2.0% 0.3% pH (1% water) 8.0 - 10.0 Methylene Chloride Max. 0.2% Appearance White/Almost White Powder | op. | 5
9 | IB02060 - G418 DISULFATE SOLUTION - 20ML Appearance:Clear, colorless solution Source:Biosynthetic: produced byMicromonospora rhodorangea pH (@25°C):4.6 - 6.0 Optical Rotation:+104° - +121° Storage:2-8°C Concentration:50 mg/ml | op. | 1
10 | IB02080 - CHLORAMPHENICOL 25GM Appearance, white to yellowish crystals Melting Point 149 - 153°C Specific Rotation 17.0 - +20.0 pH 4.5 - 7.5 Chromatographic Purity ≤2.0% P Assay 97.0 - 103.0% | op. | 1
11 | IB02100 - IPTG-1GM Abs. @300nm (5%, water) < 0.13 < 0.13 Abs. @400nm (5%, water) < 0.06 < 0.06 Melting Point 110 - 114°C pH (5%, water) @ 25°C 5.0 - 7.0 Specific Rotation (1%, water) -34.5 to -28.5 ° -31.78 ° Purity (HPLC) 98 - 101% | op. | 1
12 | IB02105 - IPTG-5GM | op. | 1
13 | IB02120 - KANAMYCIN 25GM Potency: > 750mcg/mg pH (1%, water) : 6.5 - 8.5 Moisture : Max. 4.0% | op. | 1
14 | IB02125 - IPTG-25GM | op. | 1
15 | IB02150 - IPTG/X-GAL SOLUTION - 20ML Concentration: 8mg/ml | op. | 1
16 | IB02180 - STREPTOMYCIN Sulfate 25GM Potency:>650 mcg/mg pH (20%, water):4.5 – 7.0 Moisture:<4.0% | op. | 1
17 | IB02200 - TETRACYCLINE HCl - 25GM Potency:Min. 900 μg/mg pH (1%, water):2.3 ±0.5 Moisture:Max. 2.0% 4-ephianhydrotetracycline:Max. 2.0% | op. | 1
18 | IB02260 - X-GAL-1GM POWDER Purity Min. 99% Solubility (2%, in N,N’ DMF) Clear and colorless | op. | 1
19 | IB02264 - X-GAL-100MG | op. | 1
20 | IB05400 - PROTEINASE K 100MG Enzyme Activity = >30U/mg DNase Assay = None Detected RNase Assay = None Detected | op. | 1
21 | IB05402 - PROTEINASE K - 200MG | op. | 1
22 | IB05406 - PROTEINASE K SOLUTION 5ML Enzyme Activity = >30U/mg Concentration: 20 mg/ml DNase Assay = None Detected RNase Assay = None Detected | op. | 1
23 | IB07070 - SODIUM CHLORIDE - 500GM USP Grade Assay (on dried basis): 90.0 – 100.5% Bromides: Max. 0.010% Phosphates: Max. 0.0025% Heavy Metals (as Pb): Max. 5 ppm Arsenic (As): Max. 1 mcg/g Iron (Fe): Max. 2 mcg/g Sulfate (SO4): Max. 0.020% Loss on Drying (@ 105°C / 2 hrs): Max. 0.5% Magnesium & Alkaline Earth Metals (as Ca): Max. 0.01% Bioburden: Max. 40 CFU/g Endotoxin: Max. 0.025 EU/ml | op. | 1
24 | IB07071 - SODIUM CHLORIDE - 1KG | op. | 1
25 | IB07072 - SODIUM CHLORIDE - 2.5KG | op. | 1
26 | IB07073 - SODIUM CHLORIDE - 5KG | op. | 1
27 | IB07100 - TRITON X-100 100ML pH (5%, water):7.0 ± 1.0 Color APHA:Max. 100 DNase assay:None Detected RNase assay:None Detected Protease assay:None Detected | op. | 1
28 | IB15760 - GLYCEROL 500ML Purity (Anhydrous) > 99.5% - 99.9% Chloride < 0.001% Sulfate < 0.001% Water (KF) < 1.0% Purity >99.5% Sulfate <0.0001% Arsenic <0.0003% Chlorine <0.0003% Iron <0.0005% Residue on Ignition:<0.01 Density 1.249-1.262 g/ml Specific Gravity:1.2615 – 1.2635 DNase assay None detected RNase assay None detected Protease assay None detected | op. | 1
29 | IB15762 - GLYCEROL 1L | op. | 1
30 | IB21040 - DITHIOTHREITOL (DTT)-5GM -SH content Min.: 99.4% -S-S-content Max.: 0.5% A283 (0.02 M, H2O) Max: 0.05 Melting Point: 41 ± 2°C Moisture Max.: 0.5% Solubility (5%, water): Clear and Colorless | op. | 1
31 | IB37160 - SUCROSE 1KG Purity: >99.9% Solubility (10%, H2O): Clear, colorless Conductivity (50%, H2O): <500 μmhos A220-230: <0.07 Glucose: <0.1% Chloride: <0.005% Sulfate: <0.005% Iron: <0.0005% Heavy Metals: <0.0005% Insolubles: <0.005% DNase assay: None Detected RNase assay: None Detected Protease assay: None Detected | op. | 1
32 | IB37165 - SUCROSE 5KG | op. | 1
33 | IB49020 - LB MILLER BROTH-500GM pH (@ 25°C):7.0 ± 0.2 Escherichia coli ATCC 23724: Growth Escherichia coli ATCC 33694: Growth Escherichia coli ATCC 33849: Growth Escherichia coli ATCC 39403: Growth Escherichia coli ATCC 47014: Growth Escherichia coli ATCC 53868: Growth | op. | 1
34 | IB49030 - LB MILLER BROTH-2KG | op. | 1
35 | IB49100 - MILLERS LB AGAR-500GM pH (@ 25°C):7.0 ± 0.2 Escherichia coli ATCC 23724: Growth Escherichia coli ATCC 33694: Growth Escherichia coli ATCC 33849: Growth Escherichia coli ATCC 39403: Growth Escherichia coli ATCC 47014: Growth Escherichia coli ATCC 53868: Growth | op. | 1
36 | IB49101 - MILLERS LB AGAR-2KG | op. | 1
37 | IB49111 - LB LENNOX BROTH-500GM pH (@ 25ºC) 7.0 ± 0.2 Escherichia coli ATCC 23724: Growth Escherichia coli ATCC 33694: Growth Escherichia coli ATCC 33849: Growth Escherichia coli ATCC 39403: Growth Escherichia coli ATCC 47014: Growth Escherichia coli ATCC 53868: Growth | op. | 1
38 | IB49112 - LB LENNOX BROTH-2KG | op. | 1
39 | IB49120 - LB AGAR LENNOX-500GM pH (@ 25°C): 7.0 ± 0.2 Escherichia coli ATCC 23724: Growth Escherichia coli ATCC 33694: Growth Escherichia coli ATCC 33849: Growth Escherichia coli ATCC 39403: Growth Escherichia coli ATCC 47014: Growth Escherichia coli ATCC 53868: Growth | op. | 1
40 | IB49121 - LB AGAR LENNOX-2KG | op. | 1
41 | IB49140 - TERRIFIC BROTH-500GM pH (@ 25ºC) 7.2 ± 0.2 Molecular Biology Specifications Escherichia coli ATC 23724 Growth Escherichia coli ATC 33694 Growth Escherichia coli ATC 33849 Growth Escherichia coli ATC 39403 Growth Escherichia coli ATC 47014 Growth Escherichia coli ATC 53868 Growth Formula per Liter *Casein Digest Peptone 12.0gm *Yeast Extract 24.0gm *Potassium Phosphate, Monobasic 2.3gm *Potassium Phosphate, Dibasic 12.5gm | op. | 1
42 | IB49141 - TERRIFIC BROTH-2KG | op. | 1
43 | IB49160 - YEAST EXTRACT - 500GM CAS#: 8013-01-2 pH (@ 25°C): 6.7 Clarity (1% solution, NTU): 1.5 Ash: 10.6% Moisture: <5.0% Filterability (g/cm2): 2.7 Molecular Biology Specifications Carbohydrate Total: 17.9% Nitrogen Total: 10.9% Amino Nitrogen Total: 6.1% AN/TN: 55.0 | op. | 1
44 | IB49161 - YEAST EXTRACT - 1KG | op. | 1
45 | IB49170 - BACTERIOLOGICAL AGAR - 500GM CAS# 9002-18-0 pH (@ 20ºC) 5.9 Ash 4.0% Acid-insoluble ash: <0.5% Moisture 9.3% Gel Strength (g/cm2): 500 Gelling Point: 34.7°C ± 0.5°C | op. | 1
46 | IB49171 - BACTERIOLOGICAL AGAR - 1KG | op. | 1
47 | IB49172 - BACTERIOLOGICAL AGAR - 2.5KG | op. | 1
48 | IB49173 - BACTERIOLOGICAL AGAR - 5KG | op. | 1
49 | IB49180 - TRYPTONE - 500GM CAS# 9000-71-9 Final pH (2% Solution) 7.0 Ash 6.6% Moisture <5.0% Total Nitrogen 13.0% Amino Nitrogen 4.4% NaCl 2.8% Protein (N x 6.25) 83.0% | op. | 1
50 | IB49181 - TRYPTONE - 1KG | op. | 1
51 | IB49182 - TRYPTONE - 2KG | op. | 1
52 | IB49190 - POTATO DEXTROSE AGAR - 500GM pH (@ 25ºC) 5.6 ± 0.2 Formula per Liter *Potato Infusion 4.0gm *Dextrose 20.0gm *Agar 15.0gm | op. | 1
53 | IB49191 - POTATO DEXTROSE AGAR - 2KG | op. | 1
54 | IB70035 - AGAROSE-25GM CAS# 9012-36-6 Moisture ≤7% Ash ≤0.4% EEO .05-.13 Sulfate ≤.10% Clarity @ 1.5% (NTU) ≤3 Gel Strength @ 1.0% (g/cm2) ≥1200 Gel Strength @ 1.5% (g/cm2) ≥2500 Gelling Temperature @ 1.5% 36°C ± 1.5°C Melting Temperature @ 1.5% 88°C ± 1.5°C Molecular Biology Specifications DNase assay None Detected RNase assay None Detected Protease assay None Detected Gel analysis assay Pass DNA Resolution ≥ 1000bp (Finely Resolved) DNA Extraction assay Pass Gel Background Very Low | op. | 1
55 | IB70040 - AGAROSE-100GM | op. | 1
56 | IB70041 - AGAROSE-250GM | op. | 1
57 | IB70042 - AGAROSE-500GM | op. | 1
58 | IB70045 - AGAROSE-1KG | op. | 1
59 | IB70050 - AGAROSE, LOW MELT POINT-50GM CAS#:9012-36-6 Moisture:≤7% Ash:≤0.4% EEO:≤0.12 Sulfate:≤0.12% Clarity @ 1.5% (NTU):≤4 Gel Strength @ 1.5% (g/cm2):≥500 Gelling Temperature @ 1.5%:24°C - 28°C Melting Temperature @ 1.5%:≤65.5°C Molecular Biology Specifications DNase assay:None Detected RNase assay:None Detected Protease assay:None Detected Gel analysis assay:Pass DNA Extraction assay:Pass | op. | 1
60 | IB70051 - AGAROSE, LOW MELT POINT-25GM | op. | 1
61 | IB70056 - AGAROSE, LOW MELT POINT-100GM | op. | 1
62 | IB70070 - IBI BASIC AGAROSE-100GM CAS#:9012-36-6 Ash:≤ 4.50% Sulfate:≤ 0.10% Clarity @ 1.5% (NTU):≤ 4NTU Gel Strength @ 1.0% (g/cm2):≥ 1000 Gel Strength @ 1.5% (g/cm2):≥ 2200 Gelling Temperature @ 1.5%:36°C ± 1.5°C Melting Temperature @ 1.5%:88°C ± 1.5°C Molecular Biology Specifications DNase assay:None Detected RNase assay:None Detected Protease assay:None Detected Endonuclease assay:None Detected Gel analysis assay:Pass | op. | 1
63 | IB70071 - IBI BASIC AGAROSE-250GM | op. | 1
64 | IB70072 - IBI BASIC AGAROSE-500GM | op. | 1
65 | IB70073 - IBI BASIC AGAROSE-1KG | op. | 1
66 | IB70142 - TRIS 500GM CAS#: 77-86-1 pH (0.05 M in H2O @ 25° C): 10.3 -10.5 Moisture: Max. 2.0% Insolubles: Max. 0.005% A280 (1M, water): Max. 0.05 A290 (40% solution in H2O): Max. 0.2 Arsenic: <5 ppm Lead: <1 ppm Iron: <2 ppm Copper: <1 ppm Magnesium: <10 ppm Molecular Biology Specifications: Electrophoresis: Pass DNase assay: None Detected RNase assay: None Detected Protease assay: None Detected | op. | 1
67 | IB70144 - TRIS 1KG | op. | 1
68 | IB70145 - TRIS-5KG | op. | 1
69 | IB70150 - 10X TBE BUFFER CONCENTRATE-1L pH (1 X Solution @ 25°C):8.1-8.5 | op. | 1
70 | IB70153 - 10X TBE BUFFER CONCENTRATE-4L | op. | 1
71 | IB70160 - 10X TAE BUFFER CONCENTRATE 1L Solution Components: - 0.4 M Tris-Acetate - 0.01 M EDTA pH (1 x solution @ 25°C):8.3 ± 0.1 | op. | 1
72 | IB70162 - TRIS-HCL 500GM CAS#:1185-53-1 Molecular Formula:C4H11NO3HCl Molecular Weight:157.64 Purity:Min. 99.5% Insolubles:Max. 0.001% pH (0.1 M H2O @ 25° C):4.2 â€“ 4.9 Magnesium:<0.0001% Calcium:<0.0001% Zinc:<0.0001% Lead:<0.0001% Manganese:<0.0001% Copper:<0.0001% Molecular Biology Specifications DNase assay:None Detected RNase assay:None Detected Protease assay:None Detected | op. | 1
73 | IB70165 - 10X PHOSPHATE BUFFERED SALINE - 1l pH (1X Solution @ 25°C):7.3 – 7.5 pH (10X solution @ 25°C):6.7 – 6.9 Conductivity (10%, Water) @ 25ºC:14000 – 17800 μmhos | op. | 1
74 | IB70170 - MOPS 100GM CAS#:1132-61-2 Purity:99.0% pKa (1 X Solution @ 25° C):7.20 ± 0.2 | op. | 1
75 | IB70180 - EDTA 100GM CAS#:6381-92-6 Purity:Min. 99.0% Insolubles:Max. 0.005% Heavy Metals:<0.005% A280-600 (0.5 M, water):Max. 0.10 Molecular Biology Specifications: DNase Assay:None Detected RNase Assay:None Detected Protease Assay:None Detected | op. | 1
76 | IB70182 - EDTA 500GM | op. | 1
77 | IB70194 - GLYCINE 2.5KG CAS#:56-40-6 Molecular Formula:C2H5NO2 Purity:>99.5% A280 (1 M, water):<0.10 Heavy Metals (as Pb) (%):<0.002% Solubility (10% water):Pass pH (10% water):5.5-6.5 Loss on Drying (%):≤0.2 Melting Point:247±2.5° C Molecular Biology Specifications DNase Assay:None Detected RNase Assay:None Detected Protease Assay:None Detected | op. | 1
78 | IB70195 - GLYCINE 5KG | op. | 1
79 | IB72024 - FORMAMIDE 500ML Spectral Grade CAS#: 75-12-7 Purity: Min. 99.0% Conductivity: Max. 100 μmho A280: Max. 0.08 Iron: <0.0005% Copper: <0.00001% Lead: <0.00005% Zinc: <0.00005% Molecular Biology Specifications DNase assay: None Detected RNase assay: None Detected Protease assay: None Detected | op. | 1
80 | IB72060 - UREA 500GM Physical Specifications CAS#: 57-13-6 Formula Weight: 60.06 Empirical Formula: CH4N2O Purity: Min. 99.5% A280 (8.0 M, water): Max. 0.05 Chloride: Max. 0.0005% Iron: Max. 0.0001% Heavy Metals: Max. 0.0005% Cyanate: Max. 0.002% Molecular Biology Specifications DNase assay: None Detected RNase assay: None Detected Protease assay: None Detected" | op. | 1
81 | IB72064 - UREA 2.5KG | op. | 1
82 | IB72120 - XYLENE CYANOL FF 25GM CAS#:2650-17-1 Dye Content:Min 75.0% Moisture:<10% pH (1% solution in neutral water) 4.0 - 4.5 Solubility (1%, water):Max 10% Em (614 nm, methanol)Min 30,000 | op. | 1
83 | IB74040 - BROMOPHENOL BLUE 25GM CAS#:115-39-9 Purity:>98.0% pH (1.0 M, water):7.0 ± 0.4 Insolubles:<0.01% | op. | 1
84 | IB74050 - METHYLENE BLUE 25GM CAS#:7220-79-3 Dye Content (Dry Basis):98 - 103% Arsenic:0.0008% Copper:<0.02% Moisture Max.:15.0% Zinc:<0.001% Lead:<0.001% Em (661 nm, water):>69,000 | op. | 1
85 | IB42010 - CELL CULTURE GRADE WATER-1L Cations & Anions Free Mycoplasma Free Sterility Assurance By: 0.1 µm pore filter Resistivity: 18.2 mOhms Endotoxin (LAL): ≤ 0.005 EU/ml Phosphatase: None Detected Mycoplasma: None Detected Heavy Metals: ≤ 0.00004% Sterility Assured: 0.1 µm sterile-filtered and 2 X autoclaved | op. | 1
86 | IB42020 - CELL CULTURE GRADE WATER-2L | op. | 1
87 | IB42110 - MOL. BIO. GRADE WATER-500ML Resistivity: 18.2 mOhms Endotoxin (LAL): ≤ 0.1 EU/ml MEA Approved: n/a RNAse: None Detected DNAse: None Detected Nickase: None Detected Protease: None Detected Phosphatase: None Detected Mycoplasma: None Detected Sterility Assured: 0.1 µm sterile-filtered and 2 X autoclaved | op. | 1
88 | IB42120 - MOL. BIO. GRADE WATER - 1L | op. | 1
89 | IB42130 - MOL. BIO. GRADE WATER - 2L | op. | 1
90 | IB42210 - DEPC-TREATED WATER - 500ML Cations & Anions Free: Mycoplasma Free: DEPC Treated: 0.001% Resistivity: 18.2 mOhms Endotoxin (LAL): ≤ 0.1 EU/ml RNAse: None Detected DNAse: None Detected Nickase: None Detected Protease: None Detected Phosphatase: None Detected Mycoplasma: None Detected Sterility Assured: 0.1 µm sterile-filtered and 2 X autoclaved | op. | 1
91 | IB42220 - DEPC-TREATED WATER - 1L | op. | 1
92 | IB47020 - GEL/PCR DNA FRAGMENT EXTRACTION KIT - 100 preps Wielkość próbki: do 300 mg żelu agarozowego / do 100 µl produktów PCR Rozmiar fragmentu: 70bp - 20kb Zdolność wiązania: 10 µg DNA Oczekiwana wydajność: 80-90% dla ekstrakcji żelu / 90-95% dla oczyszczania PCR Format: kolumienkowy Objętość elucji: 10 - 50ul Czas pracy: ≤20 minut | op. | 1
93 | IB47176 - I-BLUE MINI PLASMID KIT (ENDOTOXIN-FREE) - 100 preps Wielkość próbki: 1-7 ml kultury bakteryjnej Oczekiwana wydajność: do 50 µg czystego plazmidowego DNA Format: Kolumienki Objętość elucji: 30-100 µl Czas pracy: ≤20 minut | op. | 1
94 | IB47281 - gMAX MINI GENOMIC DNA KIT- 100 preps Wielkość próbki: 50-200 µl pełnej krwi (świeżej lub mrożonej) / do 25 mg tkanki / do 25 mg tkanki zatopionej w parafinie / wymaz z policzka / do 15 ml płynu owodniowego / 1 × 107 hodowanych komórek / 25 mg owadów / 10 włosów (w tym komórki mieszków włosowych) Oczekiwana wydajność: 5 µg z 200 µl krwi/ 10-40 µg z 20 mg tkanki Format: kolumienkowy Czas pracy: ≤20 minut Objętość elucji: 30-100 µl | op. | 1
95 | IB47231 - MINI GENOMIC DNA KIT (PLANT/FUNGI) - 100 preps Wielkość próbki: do 100 mg świeżej tkanki roślinnej / 25 mg suchej tkanki roślinnej Oczekiwana wydajność: 3-5 µg (100 mg liścia Arabidopsis thaliana) 20-25 µg (100 mg liścia Nicotiana tabacum) Format: kolumienkowy Czas pracy: ≤30 minut Objętość elucji: 30-200 µl | op. | 1
96 | IB47301 - MINI TOTAL RNA KIT (TISSUE) – 100 preps Wielkość próbki: do 25 mg tkanki / do 25 mg tkanki zatopionej w parafinie Czas pracy: ≤15 minut Oczekiwana wydajność: 5 - 30 µg RNA Objętość elucji: 25-100 µl | op. | 1
97 | IB47321 - MINI TOTAL RNA KIT (BLOOD & CULTURED CELLS) – 100 preps Wielkość próbki: 50-200 µl pełnej krwi ludzkiej / do 5 × 106 hodowanych komórek ssaków / 1 × 109 hodowanych komórek bakteryjnych Oczekiwana wydajność: 5-30 µg (2-3 µg z 300 µl krwi; 25-30 µg z 5 x 106 komórek) Format: kolumienki spinowe Czas pracy: ≤30 minut Objętość elucji: 50 µl | op. | 1
98 | IB47341 - MINI TOTAL RNA KIT (PLANTS) - 100 preps Wielkość próbki: do 100 mg świeżej tkanki roślinnej lub do 25 mg suchej tkanki roślinnej Czas pracy: ≤30 minut Oczekiwana wydajność: 5 - 30 µg RNA z próbek młodych liści | op. | 1
Materiały laboratoryjne
99 | SS-6003S - Zestaw FULL-BAFFLE TUNAIR™ SHAKE FLASK, 2,5 L (filtr silikonowy), 4 Pack TUNAIR™ Shake Flask System to unikalny i opatentowany system kolb i zamknięć, przeznaczony do zastosowań mikrobiologicznych i biotechnologicznych. System ten zapewnia optymalne warunki wzrostu mikroorganizmom tlenowym, komórkom ssaków i komórkom roślinnym. Zapewnia również lepszy wzrost kultury i produktywność niż standardowe kolby Erlenmeyera. Wysoki współczynnik absorpcji tlenu przez TUNAIR™ wynika z unikalnej konstrukcji przegrody i łopatkowego zamknięcia. System TUNAIR™ ma na celu zwiększenie dostępności rozpuszczonego tlenu, a także poprawę wydajności wzrostu komórek. Zestaw zawiera: - 4 polipropylenowe kolby do wytrząsania Full-baffle TUNAIR™ o pojemności 2,5 litra - 4 dwuczęściowe nasadki - 5 filtrów silikonowych | op. | 1
100 | SS-2003S - Zestaw FULL-BAFFLE TUNAIR™ SHAKE FLASK, 300ml (filtr silikonowy), 12 Pack TUNAIR™ Shake Flask System to unikalny i opatentowany system kolb i zamknięć, przeznaczony do zastosowań mikrobiologicznych i biotechnologicznych. System ten zapewnia optymalne warunki wzrostu mikroorganizmom tlenowym, komórkom ssaków i komórkom roślinnym. Zapewnia również lepszy wzrost kultury i produktywność niż standardowe kolby Erlenmeyera. Wysoki współczynnik absorpcji tlenu przez TUNAIR™ wynika z unikalnej konstrukcji przegrody i łopatkowego zamknięcia. System TUNAIR™ ma na celu zwiększenie dostępności rozpuszczonego tlenu, a także poprawę wydajności wzrostu komórek. Zestaw zawiera: - 12 polipropylenowe kolby do wytrząsania Full-baffle TUNAIR™ o pojemności 300ml - 12 dwuczęściowe nasadki - 15 filtrów silikonowych | op. | 1
101 | 6780-2502 - Filtry strzykawkowe Whatman Puradisc, śr. 25 mm sterylne 0,2 µm, PES, 50 szt./op Aplikacje: Przygotowanie próbek wodnych do HPLC Przygotowanie próbek biologicznych Roztwory buforowe Roztwory soli Pożywki do hodowli tkankowych Rozwiązania do nawadniania Sterylna izolacja | op. | 1
102 | 6780-2504 - Filtry strzykawkowe Whatman Puradisc, śr. 25 mm sterylne 0,45 µm, PES, 50 szt./op Aplikacje: Przygotowanie próbek wodnych do HPLC Przygotowanie próbek biologicznych Roztwory buforowe Roztwory soli Pożywki do hodowli tkankowych Rozwiązania do nawadniania Sterylna izolacja | op. | 1
|  | oferowany rabat (w%) | Wartość netto zamówienia z katalogu |  | Wartość netto | Wartośc brutto
| Wartość produktów z listy | ---------------------- | ----------------------
| Wartośc produktów z katalogu |  | 80 000.00 zł
Razem wartośc oferty